## Slide 1: ASL-CiC results
Logan Zhang
05/04/2023

## Slide 2: Data Collection
10 subjects (3F7M, age 21-39, mean 26.5±5.1y)
2 sessions a week apart @SPMIC
  1st session (45mins)
  2nd session (30mins)
2D Product: LD=1.8s, PLD=1.8s, 30 repeats
3D Product: LD=1.8s, PLD=2s, 8 repeats
MPRAGE | 2D REST | 3D REST | 2D TASK | 3D TASK | TOF
2D REST | 3D REST | 2D TASK | 3D TASK

## Slide 3: CBF estimation - 1

## Slide 4: CBF estimation - 2

## Slide 5: Repeatability - 1

## Slide 6: Repeatability - 2
Exclude ‘problematic’ sub03, 05, 06, 07 for 2D; sub03, 07 for 3D

## Slide 7: Detectability - 2D

## Slide 8: Detectability - 3D

## Slide 9: Conclusion
Estimation:
  Both 2D and 3D had good estimation, but in some cases 2D had more issues (motion, calibration, labelling...)
Repeatability:
  2D had higher resting GM&WM ICC; 3D had higher task ICC
  Using PVC slightly increase ICC in 3D
Detectability:
  Both 2D and 3D showed higher CBF in bilateral motor cortices, but not in the visual cortex
  3D had smaller effect sizes than 2D